**Centura Health Logger Configuration**

**For LogTag TRED30-16R Logger**

* Configure Loggers all loggers for:
  + Push Button Start
  + Record Reading every 30 min
  + Begin recording after a delay of 5 min
  + No Password
  + Advance Options:
    - Select alarm remains on even if readings return to non-violation range
    - Temperature display unit in Fahrenheit
    - Select Show total Summary Days Collected
    - Allow logging stop with STOP button
    - Enable Power Save – turn off display after 30 seconds
* Configure Alarms:
  + Fridge – Set high alarm to 46.1°F (8.1°C) & low to 35.9°F (1.9°C)
  + Freezer – Set high alarm to 5.1°F (-14.9°C) & low to -40°F (-40°C)
  + Select Audible Alarm for both high and low alarm